## Template
1 BTU/h ≈ 0.293071 watts
BSA | 0.063541 | m2 | (Body Surface Area)
Volume | 50 | m3 | (Room volume)
Capacity | 6 | person | (Room max capacity)
Min | 1.8 | person
[56 empty] | V |  | V |  |  | V |  |  |  | V |  | V | [5 empty] | V |  |  |  |  | V | [10 empty] | V | [5 empty] | V | V
Month | Week | Day | Time |  | Zone | Num-occupant | CL-occupant |  | Activity of Occupant | [29 empty] | Appliance Operation by Occupant 1 watt=3.412 BTU/h | [8 empty] | Room temperature | Room humidity | Room air-pressure |  | External temperature | External humidity | External air-pressure |  | CL-zone |  | Vent-Air | Airflow1 | Airflow2 |  |  | RPM1 | RPM2 |  | SP1 | SP2 | BHP1 | BHP2 | Watt-of-BHP1 |  | Watt-of-BHP2 |  | Watt-default-HP-VAV |  | Percent-VAV-box |  |  | Metabolic-rate (MR) | [16 empty] | Oxygen-consumed
[7 empty] | Watts | Btu/h | num-stand | CL-stand |  | num-sit | CL-sit |  | num-walk | CL-walk |  | num-squat | CL-squat |  | num-read | CL-read |  | num-talk | CL-talk |  | num-write | CL-write |  | num-sleep | CL-sleep |  | num-typing | CL-typing |  | num-light-work | CL-light-work |  | num-headphone | CL-headphone |  | num-mp | CL-mobilephone |  | num-computer | CL-computer | [12 empty] | length: 5, width: 5, height: 2, vol= 25 m3 Area + Air Change Method | Occupancy Method 20 CFM/person | requirement of airflow (CFM) |  | initial of RPM RPM=1,000 | changes of RPM RPM2=(Airflow2/Airflow1) X RPM1 |  | initial of static pressure SP1=Air pressure | changes of static pressure SP2=(RPM2/RPM1)^2 x SP1 | initial of hourse power HP1=5 | changes of hourse power BHP2=(RPM2/RPM1)^3 x BHP1 | 1 horsepower (HP) is equivalent to 745.7 watts (W). |  | 1 horsepower (BHP) is equivalent to 745.7 watts (W). |  | default of percent VAV box (50%) const condition=Airflow1 X 2 |  | Default | 100-((Airflow1/Airflow2)*100) IF = 0 THEN 30 units % |  | ASHRAE Standard 55-2010 default units: watts per square meter (W/m^2) | [10 empty] | Kilocalories based on metabolic rate |  |  |  | kcal/day = (W/m^2) X BSA (m2) X (0.000239006 kcal/s) X (86,400 s/day) | kcal/min = (Kcal/day) / 1440 | 1 kcal = 0.239005736 LO₂ (liter of oxygen)
[10 empty] | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | Watt | Btu/h |  | Watt | Btu/h |  | Watt | Btu/h | Celcius (C) | % | mPa | Pa | Celcius (C) | % | mPa | Pa | Qtotal = Qocc+Qact+Qapl |  | CFM=Qtotal / (4840 * (hum out-hum in) | CFM area=vol X 1 CFM CFM air change=(vol X 20)/60 CFM area + air change + (30% capacity) | CFM person = person X 20 | CFM=area + air change + person + vent-air | units: m^3/h 1 cfm = 1.69901 m^3/h |  | Max RPM2= RPM1 X 2 | [5 empty] | units watt | units Kw | units watt | units Kw | units watt | units Kw |  |  |  | num-stand 70 | num-sit 60 | num-walk 100 | num-squat 60 | num-read 55 | num-talk 70 | num-write 60 | num-sleep 40 | num-typing 65 | num-light-work 67,40633 | Total MET (W/m^2) | Watts = MR X BSA | Kcal/hour = Watts X 0,86 | kcal/min = (kcal/hour) / 60 | kcal/day = (kcal/hour) X 24 | 1 watt = 1 joule/second 1 joule = 0.000239006 kcal units: Kcal/day | units: Kcal/min | Oxygen Consumpt (day) LO₂/day = (kcal/day) X 0.239 LO₂/kcal (min) LO₂/min = (day) / 1440 units: LO₂/min
[7 empty] | 73.25 | 250 |  | 70 | 22 |  | 60 | 18 |  | 100 | 31 |  | 60 | 18 |  | 55 | 18 |  | 70 | 22 |  | 60 | 18 |  | 40 | 13 |  | 65 | 20 |  | 67.4063 | 230 |  | 0.5 | 1.706 |  | 4 | 13.648 |  | 50 | 170.6 | [8 empty] | Watts | Btu/h
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97
1 | 3 | 19 | 0 | 8:00 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.67 | 54.15 | 1009.04 | 10.0904 | 29 | 41 | 1010 | 10.1 | 0 | 0 | 0 | 73.3 | 0 | 73.3 | 124.5374 | 750 | 750 | 750 | 10.0904 | 10.0904 | 5 | 5 | 3728.5 | 3.7285 | 3728.5 | 3.7285 | 29828 | 29.828 | 70 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 3 | 19 | 2 | 8:05 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.67 | 54.15 | 1009.04 | 10.0904 | 29 | 41 | 1010 | 10.1 | 0 | 0 | 0 | 73.3 | 0 | 73.3 | 124.5374 | 750 | 750 | 750 | 10.0904 | 10.0904 | 5 | 5 | 3728.5 | 3.7285 | 3728.5 | 3.7285 | 29828 | 29.828 | 70 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 3 | 19 | 3 | 8:10 | 2 | 1 | 73.25 | 250 | 1 | 70 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 1.706 | 0 | 0 | 0 | 0 | 0 | 0 | 28.67 | 54.15 | 1009.04 | 10.0904 | 29 | 41 | 1010 | 10.1 | 143.75 | 273.706 | 0.0022586 | 73.3 | 20 | 93.3023 | 158.5215 | 750 | 954.6616 | 954.6616 | 10.0904 | 16.3488 | 5 | 10.3118 | 3728.5 | 3.7285 | 7689.5105 | 7.6895 | 29828 | 29.828 | 70 | 21.4381 | 30 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 4.4479 | 3.8252 | 0.063753 | 91.8047 | 91.8497 | 0.063785 | 0.015244
1 | 3 | 19 | 4 | 8:15 | 2 | 0 | 0 | 0 | 3 | 210 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.67 | 54.15 | 1009.04 | 10.0904 | 29 | 41 | 1010 | 10.1 | 210 | 66 | 0.0032995 | 73.3 | 0 | 73.3033 | 124.543 | 750 | 750.0338 | 750.0338 | 10.0904 | 10.0913 | 5 | 5.0007 | 3728.5 | 3.7285 | 3729.0035 | 3.729 | 29828 | 29.828 | 70 | 0.0045012 | 30 | 210 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 13.3437 | 11.4756 | 0.19126 | 275.414 | 275.5491 | 0.19135 | 0.045733
1 | 3 | 19 | 5 | 8:20 | 2 | 1 | 73.25 | 250 | 1 | 70 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 50 | 170.6 | 28.67 | 54.15 | 1009.04 | 10.0904 | 29 | 41 | 1010 | 10.1 | 193.25 | 442.6 | 0.0030363 | 73.3 | 20 | 93.303 | 158.5228 | 750 | 954.6695 | 954.6695 | 10.0904 | 16.349 | 5 | 10.3121 | 3728.5 | 3.7285 | 7689.7028 | 7.6897 | 29828 | 29.828 | 70 | 21.4388 | 30 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 4.4479 | 3.8252 | 0.063753 | 91.8047 | 91.8497 | 0.063785 | 0.015244
1 | 3 | 19 | 6 | 8:25 | 2 | 6 | 439.5 | 1500 |  |  |  | 1 | 60 | 18 | [6 empty] | 5 | 275 | 90 | [18 empty] | 1 | 4 | 13.648 |  |  |  | 28.67 | 54.15 | 1009.04 | 10.0904 | [8 empty] | 120 | [19 empty] | 60 |  |  | 275
1 | 3 | 19 | 7 | 8:30 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 | 8 | 8:35 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 | 9 | 8:40 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 | 10 | 8:45 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 | 11 | 8:50 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 | 11 | 8:55 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:00 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:05 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:10 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:15 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:20 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:25 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:30 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:35 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:40 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:45 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:50 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 9:55 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:00 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:05 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:10 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:15 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:20 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:25 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:30 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:35 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:40 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:45 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:50 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 10:55 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:00 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:05 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:10 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:15 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:20 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:25 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:30 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:35 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:40 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:45 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:50 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 11:55 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:00 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:05 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:10 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:15 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:20 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:25 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:30 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:35 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:40 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:45 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:50 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 12:55 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:00 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:05 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:10 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:15 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:20 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:25 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:30 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:35 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:40 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:45 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:50 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 13:55 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:00 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:05 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:10 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:15 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:20 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:25 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:30 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:35 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:40 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:45 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:50 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 14:55 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
1 | 3 | 19 |  | 15:00 | 2 | [42 empty] | 28.67 | 54.15 | 1009.04 | 10.0904
(1) https://doi.org/10.1002/clc.4960130809
(2) https://www.ashrae.org/File%20Library/Technical%20Resources/Standards%20and%20Guidelines/Standards%20Addenda/55_2010_g_Final.pdf
(3) http://www.ditar.cl/archivos/Normas_ASHRAE/T0080ASHRAE-55-2004-ThermalEnviromCondiHO.pdf