## Template
1 BTU/h ≈ 0.293071 watts
BSA | 0.063541 | m2 | (Body Surface Area)
Volume | 50 | m3 | (Room volume)
Capacity | 6 | person | (Room max capacity)
Min | 1.8 | person
[56 empty] | V |  | V |  |  | V |  |  |  | V |  | V | [5 empty] | V |  |  |  |  | V | [10 empty] | V | [5 empty] | V | V
Month | Week | Day | Time |  | Zone | Num-occupant | CL-occupant |  | Activity of Occupant | [29 empty] | Appliance Operation by Occupant 1 watt=3.412 BTU/h | [8 empty] | Room temperature | Room humidity | Room air-pressure |  | External temperature | External humidity | External air-pressure |  | CL-zone |  | Vent-Air | Airflow1 | Airflow2 |  |  | RPM1 | RPM2 |  | SP1 | SP2 | BHP1 | BHP2 | Watt-of-BHP1 |  | Watt-of-BHP2 |  | Watt-default-HP-VAV |  | Percent-VAV-box |  |  | Metabolic-rate (MR) | [16 empty] | Oxygen-consumed
[7 empty] | Watts | Btu/h | num-stand | CL-stand |  | num-sit | CL-sit |  | num-walk | CL-walk |  | num-squat | CL-squat |  | num-read | CL-read |  | num-talk | CL-talk |  | num-write | CL-write |  | num-sleep | CL-sleep |  | num-typing | CL-typing |  | num-light-work | CL-light-work |  | num-headphone | CL-headphone |  | num-mp | CL-mobilephone |  | num-computer | CL-computer | [12 empty] | length: 5, width: 5, height: 2, vol= 25 m3 Area + Air Change Method | Occupancy Method 20 CFM/person | requirement of airflow (CFM) |  | initial of RPM RPM=1,000 | changes of RPM RPM2=(Airflow2/Airflow1) X RPM1 |  | initial of static pressure SP1=Air pressure | changes of static pressure SP2=(RPM2/RPM1)^2 x SP1 | initial of hourse power HP1=5 | changes of hourse power BHP2=(RPM2/RPM1)^3 x BHP1 | 1 horsepower (HP) is equivalent to 745.7 watts (W). |  | 1 horsepower (BHP) is equivalent to 745.7 watts (W). |  | default of percent VAV box (50%) const condition=Airflow1 X 2 |  | Default | 100-((Airflow1/Airflow2)*100) IF = 0 THEN 30 units % |  | ASHRAE Standard 55-2010 default units: watts per square meter (W/m^2) | [10 empty] | Kilocalories based on metabolic rate |  |  |  | kcal/day = (W/m^2) X BSA (m2) X (0.000239006 kcal/s) X (86,400 s/day) | kcal/min = (Kcal/day) / 1440 | 1 kcal = 0.239005736 LO₂ (liter of oxygen)
[10 empty] | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | W/m^2 | Btu/h.ft^2 |  | Watt | Btu/h |  | Watt | Btu/h |  | Watt | Btu/h | Celcius (C) | % | mPa | Pa | Celcius (C) | % | mPa | Pa | Qtotal = Qocc+Qact+Qapl |  | CFM=Qtotal / (4840 * (hum out-hum in) | CFM area=vol X 1 CFM CFM air change=(vol X 20)/60 CFM area + air change + (30% capacity) | CFM person = person X 20 | CFM=area + air change + person + vent-air | units: m^3/h 1 cfm = 1.69901 m^3/h |  | Max RPM2= RPM1 X 2 | [5 empty] | units watt | units Kw | units watt | units Kw | units watt | units Kw |  |  |  | num-stand 70 | num-sit 60 | num-walk 100 | num-squat 60 | num-read 55 | num-talk 70 | num-write 60 | num-sleep 40 | num-typing 65 | num-light-work 67,40633 | Total MET (W/m^2) | Watts = MR X BSA | Kcal/hour = Watts X 0,86 | kcal/min = (kcal/hour) / 60 | kcal/day = (kcal/hour) X 24 | 1 watt = 1 joule/second 1 joule = 0.000239006 kcal units: Kcal/day | units: Kcal/min | Oxygen Consumpt (day) LO₂/day = (kcal/day) X 0.239 LO₂/kcal (min) LO₂/min = (day) / 1440 units: LO₂/min
[7 empty] | 73.25 | 250 |  | 70 | 22 |  | 60 | 18 |  | 100 | 31 |  | 60 | 18 |  | 55 | 18 |  | 70 | 22 |  | 60 | 18 |  | 40 | 13 |  | 65 | 20 |  | 67.4063 | 230 |  | 0.5 | 1.706 |  | 4 | 13.648 |  | 50 | 170.6 | [8 empty] | Watts | Btu/h
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97
1 | 4 | 27 | 0 | 8:00 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.85 | 54.07 | 1006.92 | 10.0692 | 29 | 41 | 1010 | 10.1 | 0 | 0 | 0 | 73.3 | 0 | 73.3 | 124.5374 | 750 | 750 | 750 | 10.0692 | 10.0692 | 5 | 5 | 3728.5 | 3.7285 | 3728.5 | 3.7285 | 29828 | 29.828 | 70 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 4 | 27 | 2 | 8:05 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.85 | 54.07 | 1006.92 | 10.0692 | 29 | 41 | 1010 | 10.1 | 0 | 0 | 0 | 73.3 | 0 | 73.3 | 124.5374 | 750 | 750 | 750 | 10.0692 | 10.0692 | 5 | 5 | 3728.5 | 3.7285 | 3728.5 | 3.7285 | 29828 | 29.828 | 70 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 4 | 27 | 3 | 8:10 | 2 | 1 | 73.25 | 250 | 1 | 70 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 1.706 | 0 | 0 | 0 | 0 | 0 | 0 | 26.85 | 54.07 | 1006.92 | 10.0692 | 29 | 41 | 1010 | 10.1 | 143.75 | 273.706 | 0.0022724 | 73.3 | 20 | 93.3023 | 158.5215 | 750 | 954.6617 | 954.6617 | 10.0692 | 16.3144 | 5 | 10.3118 | 3728.5 | 3.7285 | 7689.5139 | 7.6895 | 29828 | 29.828 | 70 | 21.4381 | 30 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 4.4479 | 3.8252 | 0.063753 | 91.8047 | 91.8497 | 0.063785 | 0.015244
1 | 4 | 27 | 4 | 8:15 | 2 | 0 | 0 | 0 | 3 | 210 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.85 | 54.07 | 1006.92 | 10.0692 | 29 | 41 | 1010 | 10.1 | 210 | 66 | 0.0033197 | 73.3 | 0 | 73.3033 | 124.5431 | 750 | 750.034 | 750.034 | 10.0692 | 10.0701 | 5 | 5.0007 | 3728.5 | 3.7285 | 3729.0066 | 3.729 | 29828 | 29.828 | 70 | 0.0045287 | 30 | 210 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 13.3437 | 11.4756 | 0.19126 | 275.414 | 275.5491 | 0.19135 | 0.045733
1 | 4 | 27 | 5 | 8:20 | 2 | 1 | 73.25 | 250 | 1 | 70 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 50 | 170.6 | 26.85 | 54.07 | 1006.92 | 10.0692 | 29 | 41 | 1010 | 10.1 | 193.25 | 442.6 | 0.0030549 | 73.3 | 20 | 93.3031 | 158.5228 | 750 | 954.6697 | 954.6697 | 10.0692 | 16.3147 | 5 | 10.3121 | 3728.5 | 3.7285 | 7689.7074 | 7.6897 | 29828 | 29.828 | 70 | 21.4388 | 30 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 4.4479 | 3.8252 | 0.063753 | 91.8047 | 91.8497 | 0.063785 | 0.015244
1 | 4 | 27 | 6 | 8:25 | 2 | 6 | 439.5 | 1500 |  |  |  | 1 | 60 | 18 | [6 empty] | 5 | 275 | 90 | [18 empty] | 1 | 4 | 13.648 |  |  |  | 26.85 | 54.07 | 1006.92 | 10.0692 | [8 empty] | 120 | [19 empty] | 60 |  |  | 275
1 | 4 | 27 | 7 | 8:30 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 | 8 | 8:35 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 | 9 | 8:40 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 | 10 | 8:45 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 | 11 | 8:50 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 | 11 | 8:55 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:00 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:05 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:10 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:15 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:20 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:25 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:30 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:35 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:40 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:45 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:50 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 9:55 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:00 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:05 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:10 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:15 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:20 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:25 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:30 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:35 | 2 | [42 empty] | 26.85 | 54.07 | 1006.92 | 10.0692
1 | 4 | 27 |  | 10:40 | 2 | [42 empty] | 26.9 | 53.77 | 1007.01 | 10.0701
1 | 4 | 27 |  | 10:45 | 2 | [42 empty] | 26.94 | 53.62 | 1007.07 | 10.0707
1 | 4 | 27 |  | 10:50 | 2 | [42 empty] | 26.97 | 53.38 | 1007.08 | 10.0708
1 | 4 | 27 |  | 10:55 | 2 | [42 empty] | 27 | 53.24 | 1007.13 | 10.0713
1 | 4 | 27 |  | 11:00 | 2 | [42 empty] | 27.03 | 53.12 | 1007.2 | 10.072
1 | 4 | 27 |  | 11:05 | 2 | [42 empty] | 27.06 | 52.9 | 1007.24 | 10.0724
1 | 4 | 27 |  | 11:10 | 2 | [42 empty] | 27.08 | 52.87 | 1007.25 | 10.0725
1 | 4 | 27 |  | 11:15 | 2 | [42 empty] | 27.13 | 52.7 | 1007.4 | 10.074
1 | 4 | 27 |  | 11:20 | 2 | [42 empty] | 27.16 | 52.61 | 1007.5 | 10.075
1 | 4 | 27 |  | 11:25 | 2 | [42 empty] | 27.18 | 52.49 | 1007.54 | 10.0754
1 | 4 | 27 |  | 11:30 | 2 | [42 empty] | 27.21 | 52.42 | 1007.62 | 10.0762
1 | 4 | 27 |  | 11:35 | 2 | [42 empty] | 27.24 | 52.33 | 1007.75 | 10.0775
1 | 4 | 27 |  | 11:40 | 2 | [42 empty] | 27.26 | 52.26 | 1007.8 | 10.078
1 | 4 | 27 |  | 11:45 | 2 | [42 empty] | 27.29 | 52.19 | 1007.8 | 10.078
1 | 4 | 27 |  | 11:50 | 2 | [42 empty] | 27.31 | 52.14 | 1007.86 | 10.0786
1 | 4 | 27 |  | 11:55 | 2 | [42 empty] | 27.34 | 52.07 | 1007.86 | 10.0786
1 | 4 | 27 |  | 12:00 | 2 | [42 empty] | 27.46 | 51.95 | 1007.91 | 10.0791
1 | 4 | 27 |  | 12:05 | 2 | [42 empty] | 27.6 | 51.68 | 1007.95 | 10.0795
1 | 4 | 27 |  | 12:10 | 2 | [42 empty] | 27.7 | 51.42 | 1008.02 | 10.0802
1 | 4 | 27 |  | 12:15 | 2 | [42 empty] | 27.8 | 51.21 | 1008.09 | 10.0809
1 | 4 | 27 |  | 12:20 | 2 | [42 empty] | 27.88 | 51 | 1008.18 | 10.0818
1 | 4 | 27 |  | 12:25 | 2 | [42 empty] | 27.92 | 50.82 | 1008.26 | 10.0826
1 | 4 | 27 |  | 12:30 | 2 | [42 empty] | 27.91 | 50.75 | 1008.34 | 10.0834
1 | 4 | 27 |  | 12:35 | 2 | [42 empty] | 27.88 | 50.79 | 1008.42 | 10.0842
1 | 4 | 27 |  | 12:40 | 2 | [42 empty] | 27.86 | 50.79 | 1008.49 | 10.0849
1 | 4 | 27 |  | 12:45 | 2 | [42 empty] | 27.83 | 50.88 | 1008.63 | 10.0863
1 | 4 | 27 |  | 12:50 | 2 | [42 empty] | 27.78 | 50.98 | 1008.63 | 10.0863
1 | 4 | 27 |  | 12:55 | 2 | [42 empty] | 27.73 | 51.1 | 1008.69 | 10.0869
1 | 4 | 27 |  | 13:00 | 2 | [42 empty] | 27.7 | 51.17 | 1008.75 | 10.0875
1 | 4 | 27 |  | 13:05 | 2 | [42 empty] | 27.68 | 51.28 | 1008.82 | 10.0882
1 | 4 | 27 |  | 13:10 | 2 | [42 empty] | 27.67 | 51.32 | 1008.84 | 10.0884
1 | 4 | 27 |  | 13:15 | 2 | [42 empty] | 27.67 | 51.39 | 1008.86 | 10.0886
1 | 4 | 27 |  | 13:20 | 2 | [42 empty] | 27.65 | 51.44 | 1009.03 | 10.0903
1 | 4 | 27 |  | 13:25 | 2 | [42 empty] | 27.67 | 51.53 | 1009.09 | 10.0909
1 | 4 | 27 |  | 13:30 | 2 | [42 empty] | 27.8 | 51.41 | 1009.22 | 10.0922
1 | 4 | 27 |  | 13:35 | 2 | [42 empty] | 27.94 | 51.17 | 1009.27 | 10.0927
1 | 4 | 27 |  | 13:40 | 2 | [42 empty] | 28.04 | 50.94 | 1009.36 | 10.0936
1 | 4 | 27 |  | 13:45 | 2 | [42 empty] | 28.08 | 50.74 | 1009.38 | 10.0938
1 | 4 | 27 |  | 13:50 | 2 | [42 empty] | 28.01 | 50.8 | 1009.4 | 10.094
1 | 4 | 27 |  | 13:55 | 2 | [42 empty] | 27.93 | 50.98 | 1009.42 | 10.0942
1 | 4 | 27 |  | 14:00 | 2 | [42 empty] | 27.87 | 51.11 | 1009.42 | 10.0942
1 | 4 | 27 |  | 14:05 | 2 | [42 empty] | 27.83 | 51.22 | 1009.4 | 10.094
1 | 4 | 27 |  | 14:10 | 2 | [42 empty] | 27.8 | 51.35 | 1009.41 | 10.0941
1 | 4 | 27 |  | 14:15 | 2 | [42 empty] | 27.79 | 51.43 | 1009.47 | 10.0947
1 | 4 | 27 |  | 14:20 | 2 | [42 empty] | 27.8 | 51.51 | 1009.48 | 10.0948
1 | 4 | 27 |  | 14:25 | 2 | [42 empty] | 27.82 | 51.53 | 1009.45 | 10.0945
1 | 4 | 27 |  | 14:30 | 2 | [42 empty] | 27.83 | 51.52 | 1009.49 | 10.0949
1 | 4 | 27 |  | 14:35 | 2 | [42 empty] | 27.87 | 51.53 | 1009.51 | 10.0951
1 | 4 | 27 |  | 14:40 | 2 | [42 empty] | 27.98 | 51.48 | 1009.56 | 10.0956
1 | 4 | 27 |  | 14:45 | 2 | [42 empty] | 28.1 | 51.22 | 1009.7 | 10.097
1 | 4 | 27 |  | 14:50 | 2 | [42 empty] | 28.2 | 51.01 | 1009.71 | 10.0971
1 | 4 | 27 |  | 14:55 | 2 | [42 empty] | 28.22 | 51.03 | 1009.75 | 10.0975
1 | 4 | 27 |  | 15:00 | 2 | [42 empty] | 28.25 | 50.92 | 1009.69 | 10.0969
(1) https://doi.org/10.1002/clc.4960130809
(2) https://www.ashrae.org/File%20Library/Technical%20Resources/Standards%20and%20Guidelines/Standards%20Addenda/55_2010_g_Final.pdf
(3) http://www.ditar.cl/archivos/Normas_ASHRAE/T0080ASHRAE-55-2004-ThermalEnviromCondiHO.pdf